High Resolution X-Ray Spectra A DIAGNOSTIC TOOL OF THE HOT UNIVERSE
High Resolution X-Ray Spectra
A DIAGNOSTIC TOOL OF THE HOT UNIVERSE
Katarzyna Bensch
Rosario González-Riestra María Santos-Lleó
XMM-NEWTON / ESAC

---
The RGS Instruments
The RGS Instruments
THE REFLECTION GRATING SPECTROMETER
HIGH RESOLVING POWER: 7 TO 38 Å [~ 0.33-2.5 keV]
SIMULTANEOUS OBSERVATIONS WITH EPIC AND OM
18000 RGS SPECTRA 9000 OBSERVATIONS
RGS DESIGNED TO STUDY
X-RAY EMISSION & ABSORPTION
K-SHELL TRANSITION
HELIUM-LIKE TRIPLETS OF C, N, O, Ne, Si, Ar
L-SHELL TRANSITION of Fe
DIAGNOSATIC TOOLS
TO STUDY THE X-RAY SOURCES
The X-ray Universe 2014

---
Work
Work
1. Identification of useful Spectra
2. Classification of spectra:
  FITTING THE SPATIAL PROFILES
  QUALITY
   TOP QUALITY / LOWER QUALITY
  SPATIAL EXTENT
   POINT-LIKE SOURCES / EXTENDED SOURCES

---
BiRD
BiRD
Browsing Interface for RGS Data
        START POINT: BiRD DATABASE
ALL PUBLIC RGS 1 & RGS 2 Events file + spectra
EACH ONE HAS ASSOCIATED:
Simbad Object Class, Nh, z / vrad
http://xmm.esac.esa.int/BiRD/

---
Identification of useful Spectra
Identification of useful Spectra
Fitting Gaussian function to cross-dispersion profiles
Statistically bad fit = discarded | except...
Seyfert 1 Galaxy

---
Identification of useful Spectra
CALCULATING
FLUX & ASSOCIATED ERROR
BIRD SPECTGRA
FITTING GAUSSIAN TO
CROSS-DISPERSION PROFILE
BiRD EVENTS FILES
   Defining
   “minimum usability”
   Parameters
FWHM > 3∆FWHM
FWHM ≥ INTRINSIC RESOLUTION
INTENSITY > 3∆PEAK
POSITION ON CCD: -100'' : 100''
AREA UNDER GAUSSIAN > 3∆AREA
FLUX
ERROR
  > 10
Creation of a database with all information

---
QUALITY  classification
QUALITY classification
All useful observations
5045 (56 % of all)
number of useful spectra

---
SPATIAL EXTENT classification
 SPATIAL EXTENT classification
Distribution of the widths (FWHM) of the spatial profiles
AVERAGE FWHM
RGS1: 22''.2 ± 1''.6
RGS2: 20''.4 ± 1''.8
Point-like sources:
22''.2/20''.4 ± 3σ
Extended sources:
> 22''.2/20''.4 + 3σ
REJECTED
(FITTING NOISE PEAKS)
POINT-LIKE SOURCES
EXTENDED SOURCES

---
PROFILE  EXTENSION  classification
PROFILE EXTENSION classification
POINT-LIKE SOURCES / EXTENDED SOURCES
(RGS1)
ALL USEFUL SPECTRA

---
Object types distribution
Object types distribution
TOP QUALITY
 MOST FREQUENT OBJECTS
        POINT-LIKE SOURCES EXTENDED SOURCES
SEYFERT 1 GALAXIES
(410)
LOW MASS X-RAY
BINARIES
(191)
BL LAC -TYPE OBJECTS
(125)
SUPERNOVAE
REMNANT
(99)
CLUSTERS
OF GALAXIES
(233)

---
SPECTRA
SPECTRA

---
Clusters of Galaxies
Clusters of Galaxies

---
Seyfert 1 Galaxies
Seyfert 1 Galaxies

---
Seyfert 1 Galaxies
High state / Low state

---
Seyfert 2 Galaxies
Seyfert 2 Galaxies

---
LINERs
LINERs

---
QSOs
QSOs

---
SNRs
SNRs

---
Emission lines Stars
Emission lines Stars
Star
Flare Star
Variable Star
-of BY Dra
-of RS CVn
-of BY Dra
-of Orion Type
-of beta Cep type
-Rotationally
T Tau-type Star
Eclipsing binary
-of Algol type
-of W Uma type
Spectroscopic binary
Star in double system
Double or multiple star
High proper-motion Star
Pre-main sequence Star

---
Flare Stars
Flare Stars

---
T Tau-type Stars
T Tau-type Stars

---
Web page
Web page
Catalogue & atlas
of useful RGS spectra
WILL BE AVAILABLE THROUGH
THE BIRD WEB PAGE
http://xmm.esac.esa.int/BiRD/
ANNOUNCED IN THE
XMM-NEWTON NEWSLETTER

---
Conclusions:
Conclusions:
Atlas shows:
Great potential of RGS data in archive
+ 5000 useful observations
+ 2400 very good quality
→ Some object classes show:
 similar spectral properties
 (continuum shape/emission lines)
→ While at the same time some object classes show:
 great diversity in spectral properties
 (continuum shape/emission lines)
→ Some object types show significant changes in:
 Spectral properties and flux
→ Some object types show:
constant properties

---
What can be done in future
What can be done in future
The interpretation of the observations in terms
of physical properties and mechanisms
For instance:
Different abundances for different objects in same class / different classes
 eg. SNR with or without Fe
Different ionization eg. Fe XXIV in some objects
Intrinsic variability eg. Flare Stars
Environment eg. Absorption due to cloud crossing the line of sight in some AGNs
T h a n k y o u f o r y o u r a t t e n t i o n !