## Slide 1
The JWST Exposure Time Calculator
Marco Sirianni
European Space Agency
JWST Info Day – INAF 17 March 2017

## Slide 2: Breakdown of the presentation
Introduction of the tool
Demo for NIRSpec FS
Demo MIRI observation (Macarena Garcia Marin)
Demo NIRCAM observation (Massimo Robberto)

## Slide 3: Useful Links
Webinar
Pandeia – The JWST Exposure Time Calculator (General Introduction)
K. Pontoppidan 27 Jan 2017
https://webcast.stsci.edu/webcast/detail.xhtml?talkid=5387
Webinar
Pandeia – The JWST Exposure Time Calculator (User Interface)
S. Ravindranath 21 Feb 2017
https://webcast.stsci.edu/webcast/detail.xhtml?talkid=5418
Documentation
Released (but still in construction) - MAKE SURE TO READ THE KNOWN ISSUES section -
https://jwst-docs.stsci.edu/display/JPP/JWST+Exposure+Time+Calculator,+ETC
First Public Release
Jan 2017
https://jwst.etc.stsci.edu

## Slide 4: JWST ETC “behind the scene”
Modern Concept:
Signal (source + background) modeled in 3D
Pixel based:
  Can model detector (e.g. correlated noise)
  final S/N calculation can include data analysis and post processing steps
  allows to model complex scene (e.g. estimate contamination from bright sources)
Support all JWST modes
  Imaging
  Slit, slitless, MOS and IFU spectroscopy
  Coronagraphy
  Aperture Masking Interferometry

## Slide 5: JWST ETC – User Interface
Handle multiple workflows
Interactive handling of plots
Efficient comparison of different sets of calculations
Store and share work with collaborators in workbooks

## Slide 6: Front Page
https://jwst.etc.stsci.edu/
Very useful links to:
User Guide
Known Issues

## Slide 7: Workbook Page – house keeping
When you log in with username/password, workbooks are persistent

## Slide 8: 3 Step approach
1- CREATE ONE OR MORE SOURCES
The default source is a point source with flat continuum spectrum. For each source, you may specify the SED, normalization, redshift, extinction, emission lines, and shape
2- CREATE ONE OR MORE SCENES
Add one or more sources to the scene: for each source, specify its offset from the center (and orientation, for extended sources)
3-CREATE A CALCULATION
For each calculation, you may specify the scene, the background, the instrument configuration and exposure parameters, and the extraction strategy parameters.

## Slide 9: Sorces
Scene can contain multiple sources; source can be included into multiple scenes
Sources can be offset from centre of Scene
How to specify your source
  Continuum: flat, black body, power law + templates
  Lines: user-specified
  Normalise to magnitude/flux in JWST/HST bandpasses or at λ
  Upload spectrum: ascii (.dat, .txt) or FITS format. https://jwst-docs.stsci.edu/display/JPP/JWST+ETC+User+Supplied+Spectra for detailed description of file
Extended sources: Flat, Sersic, 2D Gaussian profile

## Slide 11: Scene and Source Page

## Slide 12: Creating a Source

## Slide 13: Creating a Source and a scene

## Slide 14: Creating a more complex scene

## Slide 15: Finalizing the scene

## Slide 16: Setting up the scene for the calculation

## Slide 17: Setting up the calculation and strategy

## Slide 18: Setting up the calculation and strategy

## Slide 19: Result of a calculation

## Slide 20: Exploring the parameter space