## Slide 1: The NIRSpec Multi-Object Spectroscopy (MOS) mode
Torsten Böker
“On your mark” JWST Workshop
ESAC, September 26-28, 2016

## Slide 2: Outline…
NIRSpec optical and mechanical design overview
The Microshutter Array – design and functionality
Focal plane(s) layout
Example: MOS observations of a deep galaxy field
Wavelength coverage and instrument configurations
Hardware Constraints: failed shutters
Observing Strategy for MOS mode
Data products
Planning the target acquisition and MSA configuration(s)
Sensitivity in MOS mode

## Slide 3: NIRSpec Optical Design
Telescope Focus
Slit Mask
Pupil at Disperser
Detector Array
Telescope
Focus (f/20)
Pick-off
Mirror(s)
Fore-Optics
TMA
Filter
Wheel
Micro-Shutter
Array (f/12.5)
Focal Plane
Array (f/5.7)
Collimator
TMA
Camera
TMA
Grating
Wheel

## Slide 4: NIRSpec Mechanical Design
Camera housing
Grating wheel
Detector (FPA)
Cal. Lamps (CAA)
Filter wheel
FORE optics TMA
Pick-off mirrors
Integral-Field
Unit (IFU)
ReFoc Mech. (RMA)
Micro-Shutters

## Slide 5: NIRSpec – the first MOS in space
“traditional” slit masks not an option at L2
Instead, use MEMS technology to configure slit mask

## Slide 6: How the MSA works

## Slide 7: MSA hardware

## Slide 8: Apertures in the MSA Plane

## Slide 9: NIRSpec Focal Plane(s)

## Slide 10: Example: a deep galaxy field
R 100:
R 1000:
R 2700:

## Slide 11: Available filter/grating combinations
For R~100, CLEAR/PRISM delivers full spectral range (0.6-5.3 mm) in a single exposure
For R~1000, require 3-4 exposures to cover full wavelength range:
  F100LP/G140M: 0.97 – 1.89 mm
  F170LP/G235M: 1.66 – 3.17 mm
  F290LP/G395M: 2.87 – 5.27 mm
  (F070LP/G140M: 0.70 – 1.27 mm)
For R~2700, require 3-4 exposures to cover full wavelength range:
  F100LP/G140H: 0.97 – 1.89 mm
  F170LP/G235H: 1.66 – 3.17 mm
  F290LP/G395H: 2.87 – 5.27 mm
  (F070LP/G140H: 0.70 – 1.27 mm)

## Slide 12: MSA cosmetics
…. welcome to reality ….

## Slide 13: Failed closed shutters
Q3
Q4
Q1
Q2
Dispersion direction ---------------

## Slide 14: Failed closed shutters (with field stop shadow)
Q3
Q4
Q1
Q2
Dispersion direction ---------------

## Slide 15: Failed open shutters (all 19 of them)
Dispersion direction ---------------
Q3
Q4
Q1
Q2

## Slide 16: When the MSA is “all closed”…..
Note: effect is highly exaggerated in this figure!
(very bright lamp and narrow color scale)

## Slide 17: Failed open shutters

## Slide 18: “Default” Observing Strategy
A B C

## Slide 19: Example exposures
Simulated 100ks exposure:
(created by “nodding” three 33ks exposures)

## Slide 20: Data Products
‘Trace’:
‘Rectified’ 2-d spectrum
‘Final’ 1-d spectrum
Example: CLEAR/PRISM spectrum of XDFV-3953261056
(R.A. 03:32:39.532, Dec -27:46:10.56, m(F160W)=27.0, z=5.1)

## Slide 21: Target Acquisition

## Slide 22: TA planning
need source catalog (incl. both science targets and reference stars) with knowledge of relative source positions to within (ideally) 5 mas
Once observations have been scheduled, use the micro-shutter planning tool (MPT) to optimize the desired MSA position on the sky (i.e. roll angle and RA/Dec of MSA fiducial point) and to create the required MSA configuration files (see talk by D. Karakla).
TA data and MSA configuration files will be attached to the visit files and uplinked for autonomous execution
note that roll angle constraints limit schedulability of observations

## Slide 23: MOS Sensitivity – point source continuum flux
Disclaimer:
These estimates are conservative, and are expected to improve.
Always refer to the STScI ETC for up-to-date sensitivity estimates.
R=1000:
R=2700:

## Slide 24: MOS Sensitivity – extended source surface brightness
Disclaimer:
These estimates are conservative, and are expected to improve.
Always refer to the STScI ETC for up-to-date sensitivity estimates.
R=1000:
R=2700:

## Slide 25: NIRSpec MOS sensitivity
End-of-life (EOL) Sensitivity Requirements
ISIM-153 (JWST-RQMT-000835) | Requirement | Computed | Margin | Compliance
CLEAR/PRISM at 3 microns S/N=10 in 10,000 seconds Point-source, continuum spectrum | 132 nJy | 120 nJy | 9% | OK
F170LP/G235M at 2 microns S/N=10 in 100,000 seconds Point source, emission-line spectrum | 5.7 x 10-22 Wm-2 | 4.76 x10-22 Wm-2 | 16% | OK