## Slide 1
1
The Medium Resolution Spectrometer
(IFS with MIRI)
Alvaro Labiano
on behalf of the MRS team
Notes: Huge team of experts

## Slide 2: JWST Observing Modes

## Slide 3
Spectrometer Pre-Optics (SPO)
LT: light trap
BF: blocking filter
Ch. 1: Wheel 1
Ch. 2 & 3: Wheel 1+2
Ch. 4: “Clear”
Notes: Dichroics on 2 dichroic wheel assemblies
Wells+15

## Slide 4: MRS - “slicer IFU”

## Slide 5: MRS Parameters
IFUSHORT
IFULONG
Notes: Updating lam & resol with test data.
Will be refined on orbit

## Slide 6: Full wavelength coverage – 3 observations!
Obs #1
Obs #2
Obs #3
Dichroic grating wheels select bands of all channels simultaneously

## Slide 7: MRS FoV
All channels have concentric fields of view
Notes: FoVs, diff slice widths (PASP)

## Slide 8: MRS spectrum of a extended source
6.7
5.6
l/mm
8.6
10.2
13.3
15.7
24.5
20.5
Channel 4 & 3
Channel 1 & 2
IFUSHORT
IFULONG
Notes: 1B, 2B, 3B, 4B Ch 4 lower sensitivity
Non trivial distortions,

## Slide 9
MRS cube reconstruction “cube build”

## Slide 10
MRS cube reconstruction “cube build”
[CV2 data]

## Slide 11
MRS Baseline Pipeline
Notes: Details in Karl’s presentation

## Slide 12: Observing with the MRS - PSF
Along-slice direction (a), the PSF is
diffraction limited for l > 8 mm
Across-slice direction (b) diffraction
limited except for subband1C
Model
IFU – Reconstruction 5.8 mm
Notes: Glauser+15

## Slide 13: Observing with the MRS – Resolving power
Ravg~3500 Ch. 1
Ravg~3000 Ch. 2
Ravg~2600 Ch. 3
Ravg~1600 Ch. 4
Notes: Labiano+16

## Slide 14: Observing with the MRS – Sensitivity
Currently updating it!
Notes: George & Alistair reviewing sensitivities

## Slide 15: Observing with the MRS – Dithers
Patterns available to optimize each channel (ch1 = all), and in “extended source pattern”: minimum offsets to achieve ideal sampling (instead of a,b based).
2-pt dither pattern: “large” offset, designed to achieve 1/2 integer sampling. For reasonable sampling in all channels.
4-pt dither pattern: includes additional “short” offsets to mitigate some sampling issues due to optical distortions. For best sampling in all bands.
Notes: Glasse&Glauser 15
Ops Doc

## Slide 16: MRS-Imager Simultaneous Observations (SIMO)
Imager has better PSF and larger FoV -> We can refine the MRS astrometry!
Very useful for dithers, mosaics, and deep observations:
Combine cubes of faint or undetected sources from different visits
Mosaics of diffuse emission
Serendipitous discovery of asteroids.
Extra data for only 30 seconds per filter!
Image: STScI
[≠ parallel]
Notes: Are overheads TBC?
More details on Macarena and Alistair talks

## Slide 17: Final thoughts
First IFS for mid-IR in space.
Extremely well characterized instrument.
MRS will meet all of its (your!) scientific objectives as part of JWST.
PASP+SPIE papers, and ask us!
Notes: (all effects and distortions are corrected to a <5% level)
Mostly diffraction limited
Improving calibrations (even more)